HOT WORK PERMIT FORM

1. Permit Details

Permit Number: _______________________________________________

Location of Hot Work: _________________________________________

Type of Hot Work (e.g., welding, cutting, grinding): ______________

Description of Work: ___________________________________________

Duration of Permit: From ________ to ________ (hours)

2. Requestor Information

Name: _______________________________________________________

Title/Position: _______________________________________________

Department: _________________________________________________

Contact Number: ______________________________________________

Signature: __________________________________ Date: ___________

3. Supervisor Approval

Name: _______________________________________________________

Title/Position: _______________________________________________

Signature: __________________________________ Date: ___________

4. Area Preparation

The following conditions have been met prior to commencement of hot work:

- Combustible materials removed or protected

- Fire-resistant blankets or shields in place

- Fire extinguishers or other fire-fighting equipment available and operable

- Flammable vapors or gases eliminated or ventilated

- Work area inspected and cleared of hazards

- Hot work signs or barriers placed to warn personnel

5. Fire Watch

A dedicated fire watch shall be assigned during and for at least 30 minutes after hot work completion.

Fire Watch Name: ____________________________________________

Contact Number: ______________________________________________

Signature: __________________________________ Date: ___________

6. Personal Protective Equipment (PPE)

- Flame-resistant clothing

- Safety goggles or face shield

- Heat-resistant gloves

- Hard hat

- Hearing protection

- Respiratory protection (if required)

7. Utilities and Equipment Safety

Ensure all utilities and equipment meet the following before hot work begins:

- Gas cylinders secured and capped when not in use

- Electric equipment properly grounded

- Fuel lines and tanks protected or shut off

- Electrical circuits locked-out/tagged-out if applicable

- Ventilation provided to disperse fumes and gases

8. Emergency Procedures

All personnel involved have been briefed on emergency response procedures, including:

- Location of fire alarms and exits

- Use of fire extinguishers and other firefighting equipment

- Evacuation routes and assembly points

- Emergency contact numbers

9. Permit Authorization

Authorized By (Safety Officer or Management):

Name: _______________________________________________________

Title/Position: _______________________________________________

Signature: __________________________________ Date: ___________

10. Completion and Closure

Upon completion of hot work, the area has been inspected and declared safe:

Inspection Conducted By:

Name: _______________________________________________________

Title/Position: _______________________________________________

Signature: __________________________________ Date: ___________

| REQUESTOR | SUPERVISOR |
| --- | --- |
| Signature: _________________________ | Signature: _________________________ |
| Name: ________________________________ | Name: ________________________________ |

Original source of this document:

https://formtemplate-us.com/hot-work-permit-form/

Did you find this template helpful?

Find more updated templates at:

https://formtemplate-us.com

This template is intended exclusively for personal, non-commercial use.
If distributed or published, the source must be mentioned. © formtemplate-us.com